Montecito CDD Monthly Report

208 Montecito Drive, Satellite Beach, Florida Phone: 321-777-9460
General Manager: Kisha Wagner Report Date: October
Meeting Date: November

Admin Pending Items / Updates
Clubhouse and pool deck
✓ Roof inspection done.
✓ Stenner pump repaired.
✓ New pool cushions delivered and installed.
✓ 2 Two resident events this month.
✓ Complaint received from USPS regarding vehicles parked obstructing mailboxes.
​
AED Course
✓ Equipment ordered.
Lakes and Fountain
✓ New fountain installed at lake Pasadena.
✓ All lakes treated for aquatic algae.
✓ All fountain power boxes and times inspected and adjusted after a power outage.
Playground: ARC
✓ Bench delivered. Installation scheduled.
Pavers repair (CDD): Map available
✓ Groundworks
✓ Rose Paving
Clubhouse furniture
✓ Furniture ideas have been selected. Waiting for final decision on funds.

Pedestrian Gate and Fences
✓ Service scheduled 11/6
Community Light Pole: Quotes
✓ Mike the Painter
✓ Anchor Painting
Storm Drain Concrete: Repair
✓ Don Bo – Quote received.
✓ Rose Paving – Quote received
Surveillance Cameras
✓ Equipment installed. Solar security camera scheduled to be installed on or before 11/06.
Roof Repair
✓ Reported a leak coming from the pool patio ceiling. Vendor identified multiple areas needing immediate attention. We are currently waiting for a full report and proposal.

Pump Stations - HOOVER
✓ Pump stations serviced. Phase #3 leak repaired.